# Functional Building Blocks of Medical Instrumentation

This diagram illustrates the generalized signal chain for biomedical measurement devices, compliant with IEC 60601 isolation standards.

(Cross-link: Circuits II — System-level block diagrams and transfer function cascading).

graph TD
    %% Define styles
    classDef biological fill:#f9d0c4,stroke:#333,stroke-width:2px;
    classDef analog fill:#d4e1f9,stroke:#333,stroke-width:2px;
    classDef digital fill:#d4f9d4,stroke:#333,stroke-width:2px;
    classDef isolation fill:#fff3cd,stroke:#ffc107,stroke-width:4px,stroke-dasharray: 5 5;

    %% Nodes
    M[Measurand<br/>e.g., Blood Pressure]:::biological
    S[Sensor/Transducer<br/>Sensitivity: K_sensor]:::analog
    C[Signal Conditioner<br/>Gain: G_amp, Filter: H_filter(s)]:::analog
    ISO[Galvanic Isolation Barrier<br/>Patient Safety (IEC 60601)]:::isolation
    ADC[Analog-to-Digital Converter<br/>Resolution: K_ADC]:::digital
    P[Microprocessor/DSP<br/>Calibration & Algorithm]:::digital
    D[Display/Storage<br/>V_display]:::digital

    %% Flow
    M -- "Physical Variable" --> S
    S -- "Analog Voltage (V_bio)" --> C
    C -- "Conditioned Analog Signal" --> ISO
    ISO -- "Isolated Signal" --> ADC
    ADC -- "Discrete Binary" --> P
    P -- "Processed Data" --> D

## System Transfer Function Derivation

Assuming a linear, time-invariant (LTI) system where impedance matching prevents inter-stage loading (i.e., ), the final output digital value is the product of the individual functional block gains:

Variable Definitions:

- : The physiological variable being measured (e.g., , , ).

- : Transducer sensitivity mapping physical units to electrical units (e.g., ).

- : The linear voltage gain of the amplifier block ().

- : The -domain transfer function of the filter block, which defines the system bandwidth .

- : The conversion factor of the digitizer ().

Research Note: A common textbook simplification assumes  is perfectly linear. In clinical practice (and as demonstrated in the python visualizations), sensors like thermistors are highly nonlinear. This requires the Microprocessor () block to perform an inverse mapping operation, such as a Taylor series expansion or Steinhart-Hart equation look-up table, prior to the final display.